## GT2
Rotor life Management - Operating History
Data request form
GENERAL DATA |  | VALUE | ADDITIONAL NOTES
GT model
Customer name and site
HP or LP rotor ?
GT serial number (list all S/N where the rotor was installed)
Field project engineer (contact person)
Orginal job#
Most recent service job number, if known.
Customer train code (list all trains, where the rotor was installed)
Serial numbers of rotor and parts (e.g. shafts, disks, spacers, turbine wheels)
Non-standard manufacturing details of rotor (e.g. non conformities, non-standard configuration, if any)
Past repairs on the rotor, if any?
Date of rotor commissioning (COD) / rotor's first run
Can the Customer provide the past inspection reports?
All rotor parts (exp. blades) orginal or replaced? (if yes, which ones?)
What is the Customer's expectation from RLA / RLM?
RLM or RLA or other ?
Where RLM / RLA to be excecuted?
Will the rotor be reinstalled in same train or the other?
Is the entire rotor under the RLM / RLA?
What is the operational profile of this unit? (e.g. Baseload / partiaload, peaker / continous)
Has the unit experienced the below conditions, when operating with this rotor
-- Overfiring (beyond alarm)
-- Overspeed (with the train trip)
-- High vibration levels/peaks (beyond alarm
Planned or in progress any upgrades on the train?
What is the unit combustion system? (e.g. SAC/DLE, if water injection add comment)
| Operating cycle |  |  | Simple | Combined | Regen | Cogen
Mechanical drive / generator drive ?
Rated loading of the GT
| Fuel type (if non-standard natural gas, provide compostion) |  |  | Std natural gas | Non-standard gas | Dual fuel | Liquid fuel
Any non-BH or non-GE hardware has been used in the unit or is planned to be used in the unit?
Applicable only to MS3002: What are the value of clearance at the bearing #2 labyrinth seal (items XD, XE, XH, XJ as on SOM02806)?
OPERATING DATA SINCE 1st INSTALATION
Total Fired hours
Total starts
Total trips and hot-restarts
| Any 3S event reported (heavy overspeed) with control system locking? |  |  | Yes | No
CYCLE AND CALIBRATION DATA-SET
Note on C4: Select from: Fr52B Fr52C Fr52D Fr52P/PA Fr32J PGT10-2 GE10-2 PGT5-2 GE10-1 HSPT HSPT+ or PIP Other - add note
Note on C6: HP or LP. If HP and LP, submit two workflows (one for HP, other for LP) to track later two different service jobs.
Note on C16: If yes, attach the reports from previous inspections and repairs on the rotor.
Note on C18: Anything what important for the Customer, e.g.: how many hours to be extended? no limit in application / load? some parts to be reused from other rotors?
Note on C19: RLM = extended inspections + standard ENG assessment based on field data input, then maximum life extension 2x MI intervals RLA = extended inspections with non-standard ENG assessment, then life extension 1x MI interval USM = extended inspections with non-standard ENG assessment (worst-case scenarios only), then reuse in other unit
Note on C21: If other train, need to provide operating data for previous nad future trains on two seprate "field data" sheets.
Note on C22: If NO, which parts will be scraped anyway or are below EoL limit (becuase were replaced on previous MI)?
Note on C23: In case of partial load, please specify the average power (%)
Note on C28: anything which could affect operating point for GT in the future e.g. - Change of driven equipment - Power Cristal uprate - Change of GT version from B to C - Water injection - Change to combined cycle
Note on C32: kW or HP as in the API datasheet of the driven equipment.
Note on C35: provide in seprate sheet or inspection check form

## Field dataGT2
Please provide at least 7 days recording for each operative data listed below, sampling at least every 1 hour
OPERATING PARAMETERS FROM MARK-IV [PLEASE SPECIFY]
UNIT XXX [PLEASE SPECIFY]
| Date → |  | 2023-12-10 | 2023-12-09 | 2023-12-08 | 2023-12-07 | 2023-12-06 | 2023-12-05 | 2023-12-04
| Time → | Units | 11:30 | 11:30 | 11:30 | 11:30 | 11:30 | 11:30 | 11:30
TTWS1FT1 | Wheel Space Temperature 1st Stage Forward | °C/℉ | 283 | 288 | 290 | 288 | 289 | 286 | 283
TTWS1FT2 | Wheel Space Temperature 1st Stage Forward | °C/℉ | 284 | 290 | 290 | 289 | 290 | 287 | 284
TTWS1A01 | Wheel Space Temperature 1st Stage Aft | °C/℉ | 287 | 291 | 294 | 292 | 295 | 290 | 287
TTWS1A02 | Wheel Space Temperature 1st Stage Aft | °C/℉ | 291 | 295 | 297 | 295.3 | 299 | 293 | 291
TTWS2FT1 | Wheel Space Temperature 2nd Stage Forward | °C/℉ | 231 | 236 | 239 | 237 | 241 | 234 | 231
TTWS2FT2 | Wheel Space Temperature 2nd Stage Forward | °C/℉ | 229 | 235 | 237 | 236 | 240 | 233 | 230
TTWS2A01 | Wheel Space Temperature 2nd Stage Aft | °C/℉ | 239 | 242 | 244 | 243 | 250 | 241 | 239
TTWS2A02 | Wheel Space Temperature 2nd Stage Aft | °C/℉ | 244
TTWS3FT1 | Wheel Space Temperature 3rd Stage Forward | °C/℉
TTWS3FT2 | Wheel Space Temperature 3rd Stage Forward | °C/℉
TTWS4A01 | Wheel Space Temperature 4th Stage Aft | °C/℉
TTWS4A02 | Wheel Space Temperature 4th Stage Aft | °C/℉
CTIF1 | Ambient temperature | °C/℉ | 18 | 24.5 | 24 | 23.6 | 25
CTIF2 | Ambient temperature | °C/℉ | 19 | 25.3 | 25.3 | 24.9 | 25
CTDA1 | Compressor Discharge Temperature | °C/℉ | 265 | 274.2 | 275 | 273 | 276
CTDA2 | Compressor Discharge Temperature | °C/℉ | 266 | 274.1 | 275.3 | 272 | 27
CPD | Compressor Discharge Pressure | barA / barG? | 5.5 | 5.4 | 5.3 | 5.4 | 5.4
TTXD / T8 | Exhaust gas temperature (average) | °C/℉ | 457 | 474.8 | 475 | 474 | 473
IGV postion |  | deg | 57 | 58 | 59 | 58 | 60
NGV postion |  | deg | 2.63 | 2.7 | 2.6 | 2.5 | 2.4
TNH | High pressure rotor speed | RPM | 5048 | 5052 | 5048 | 5745 | 5043
TNL | Low pressure rotor speed | RPM | 4361 | 4335 | 4350 | 4355 | 4350
DWATT | Power output
| Fuel volume flow rate | MSCFD
Water injection
FSR | Fuel stroke reference |  | 43.1 | 42.5 | 43 | 43 | 42.5
FQG | Gas Fuel Validated mass flow
FPG2 | Interstage Fuel gas pressure | PSIG | 12.15 | 11.7 | 11.75 | 11.7 | 11.75
FPRG | Gas Ratio valve control - Pressure reference |  | 6.9 | 12.14 | 12.15 | 12.14 | 12.15
BB1 | Vibrations | IN/S | 7.04 | 6.85 | 6.8 | 7 | 6.9
BB2 | Vibrations | IN/S | 0.6 | 6.9 | 6.95 | 6.8 | 6.8 | 6.7
BB3 | Vibrations |  | 0 | 0.6 | 0.65 | 0.65 | 0.065 | 0.65
BB4 | Vibrations |  |  | 0 | 0 | 0 | 0 | 0
Please provide at least 7 days recording for each operative data listed below, sampling at least every 1 hour